## Lista_invertoare
Lista invertoarelor declarate conforme cu cerințele Ordinului ANRE nr. 208/14.12.2018 pentru aprobarea „Normei tehnice privind cerinţele tehnice de racordare la rețelele electrice de interes public pentru module generatoare, centrale formate din module generatoare și centrale formate din module generatoare offshore
06.12.2021 - in curs de actualizare
DENUMIRE INVERTOR | TIP INVERTOR | Protectie minima tensiune | Protectie maxima tensiune | Protectie minima frecventa | Protectie maxima frecventa | Protectie antiinsularizare (prin protectii de tensiune/frecventa) | Protectie antiinsularizare (prin viteza de variatie a frecventei - RoCoF/voltage shift) | Observatii
ABB | TRIO-5.8-TL-OUTD-400 | [6 empty] | in curs de actualizare
ABB | TRIO-7.5-TL-OUTD-400 | [6 empty] | in curs de actualizare
ABB | TRIO-8.5-TL-OUTD-400 | [6 empty] | in curs de actualizare
ABB | TRIO-5.8-TL-OUTD-S-400 | [6 empty] | in curs de actualizare
ABB | TRIO-7.5-TL-OUTD-S-400 | [6 empty] | in curs de actualizare
ABB | TRIO-8.5-TL-OUTD-S-400 | [6 empty] | in curs de actualizare
ABB | UNO-DM-1.2-TL-PLUS | [6 empty] | in curs de actualizare
ABB | UNO-DM-2.0-TL-PLUS | [6 empty] | in curs de actualizare
ABB | UNO-DM-3.3-TL-PLUS | [6 empty] | in curs de actualizare
ABB | UNO-DM-4.0-TL-PLUS | [6 empty] | in curs de actualizare
ABB | UNO-DM-4.6-TL-PLUS | [6 empty] | in curs de actualizare
ABB | UNO-DM-5.0-TL-PLUS | [6 empty] | in curs de actualizare
ABB | UNO-DM-1.2-TL-PLUS(-Q) | [6 empty] | in curs de actualizare
ABB | UNO-DM-2.0-TL-PLUS(-Q) | [6 empty] | in curs de actualizare
ABB | UNO-DM-3.0-TL-PLUS(-Q) | x | x | x | x | x | x
ABB | UNO-DM-3.3-TL-PLUS(-Q) | [6 empty] | in curs de actualizare
ABB | UNO-DM-4.0-TL-PLUS(-Q) | [6 empty] | in curs de actualizare
ABB | UNO-DM-4.6-TL-PLUS(-Q) | [6 empty] | in curs de actualizare
ABB | UNO-DM-5.0-TL-PLUS(-Q) | [6 empty] | in curs de actualizare
ABB | UNO-DM-6.0-TL-PLUS(-Q) | [6 empty] | in curs de actualizare
ABB | PVI-8.0-TL-OUTD | [6 empty] | in curs de actualizare
ABB | PVI-10.0-TL-OUTD | [6 empty] | in curs de actualizare
ABB | PVI-12.5-TL-OUTD | [6 empty] | in curs de actualizare
ABB | TRIO-20.0-TL-OUTD | x | x | x | x | x | x
ABB | TRIO-27.6-TL-OUTD | x | x | x | x | x | x
ABB | TRIO-TM-50.0-400 | [6 empty] | in curs de actualizare
ABB | PVS-50-TL(-S/-SX/-SX2) | x | x | x | x | x | x
ABB | PVS-100-TL(-SX/-SX2/-SY/-SY2) | x | x | x | x | x | x
ABB | PVS-175-TL | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO EVO 10000 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO EVO 12500 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K12 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K15 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K18 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K25 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K25 HV | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K33 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K33 HV | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K40 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K40 HV | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K64 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K64 HV | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K80 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K80 HV | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K100 | [6 empty] | in curs de actualizare
AROS SOLAR TECHNOLOGY | SIRIO K100 HV | [6 empty] | in curs de actualizare
CHINT POWER | CPS SCA1KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA2KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA2.5KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA3KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA3.6KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA3KTL-SM/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA3.6KTL-SM/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA4KTL-SM/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA4.6KTL-SM/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA5KTL-SM/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA6KTL-SM/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA17KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA20KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA22KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA25KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA28KTL-S/EU | x | x | x | x | x | x
CHINT POWER | CPS SCA30KTL-S/EU | x | x | x | x | x | x
DELIOS | DLS 300C | [6 empty] | in curs de actualizare
DELIOS | DLS 450C | [6 empty] | in curs de actualizare
DELIOS | DLS 600C | [6 empty] | in curs de actualizare
DELIOS | DLS 300 | [6 empty] | in curs de actualizare
DELIOS | DLS 450 | [6 empty] | in curs de actualizare
DELIOS | DLS 450H | [6 empty] | in curs de actualizare
DELIOS | DLS 600 | [6 empty] | in curs de actualizare
EAST Solar String | EA 2KSI | [6 empty] | in curs de actualizare
EAST Solar String | EA 2.5 KSI | [6 empty] | in curs de actualizare
EAST Solar String | EA 3 KSI | [6 empty] | in curs de actualizare
EAST Solar String | EA 3.68 KSI | [6 empty] | in curs de actualizare
EAST Solar String | EA 4 KSI | [6 empty] | in curs de actualizare
EAST Solar String | EA 4.6 KSI | [6 empty] | in curs de actualizare
EAST Solar String | EA 5 KSI | [6 empty] | in curs de actualizare
EAST Solar String | EA 6 KSI | [6 empty] | in curs de actualizare
FRONIUS | Primo 3.0-1 | [6 empty] | in curs de actualizare
FRONIUS | Primo 3.5-1 | [6 empty] | in curs de actualizare
FRONIUS | Primo 3.6-1 | [6 empty] | in curs de actualizare
FRONIUS | Primo 4.0-1 | [6 empty] | in curs de actualizare
FRONIUS | Primo 4.6-1 | [6 empty] | in curs de actualizare
FRONIUS | Primo 5.0-1 | [6 empty] | in curs de actualizare
FRONIUS | Primo 5.0-1 AUS | [6 empty] | in curs de actualizare
FRONIUS | Primo 6.0-1 | [6 empty] | in curs de actualizare
FRONIUS | Primo 8.2-1 | [6 empty] | in curs de actualizare
FRONIUS | Symo Hybrid 3.0-3-S | x | x | x | x | x | x
FRONIUS | Symo Hybrid 4.0-3-S | [6 empty] | in curs de actualizare
FRONIUS | Symo Hybrid 5.0-3-S | [6 empty] | in curs de actualizare
FRONIUS | Symo 3.0-3-M | [6 empty] | in curs de actualizare
FRONIUS | Symo 3.7-3-M | x | x | x | x | x | x
FRONIUS | Symo 4.5-3-M | x | x | x | x | x | x
FRONIUS | Symo 5.0-3-M | x | x | x | x | x | x
FRONIUS | Symo 5.5-3-M | [6 empty] | in curs de actualizare
FRONIUS | Symo 6.0-3-M | x | x | x | x | x | x
FRONIUS | Symo 6.7-3-M | [6 empty] | in curs de actualizare
FRONIUS | Symo 7.0-3-M | x | x | x | x | x | x
FRONIUS | Symo 8.0-3-M | [6 empty] | in curs de actualizare
FRONIUS | Symo 8.2-3-M | x | x | x | x | x | x
FRONIUS | Symo 10.0-3-M | [6 empty] | in curs de actualizare
FRONIUS | Symo 12.5-3-M | [6 empty] | in curs de actualizare
FRONIUS | Symo 15.0-3-M | [6 empty] | in curs de actualizare
FRONIUS | Symo 17.5-3-M | [6 empty] | in curs de actualizare
FRONIUS | Symo 20.0-3-M | [6 empty] | in curs de actualizare
FRONIUS | ECO 25-3-S | [6 empty] | in curs de actualizare
FRONIUS | ECO 27-3-S | [6 empty] | in curs de actualizare
GOODWE | GW700-XS | [6 empty] | in curs de actualizare
GOODWE | GW1000-XS | [6 empty] | in curs de actualizare
GOODWE | GW1500-XS | [6 empty] | in curs de actualizare
GOODWE | GW2000-XS | [6 empty] | in curs de actualizare
GOODWE | GW3000D-NS | [6 empty] | in curs de actualizare
GOODWE | GW3600D-NS | [6 empty] | in curs de actualizare
GOODWE | GW4200D-NS | [6 empty] | in curs de actualizare
GOODWE | GW5000D-NS | [6 empty] | in curs de actualizare
GOODWE | GW6000D-NS | [6 empty] | in curs de actualizare
GOODWE | GW4000-DT | [6 empty] | in curs de actualizare
GOODWE | GW5000-DT | [6 empty] | in curs de actualizare
GOODWE | GW6000-DT | [6 empty] | in curs de actualizare
GOODWE | GW8000-DT | [6 empty] | in curs de actualizare
GOODWE | GW9000-DT | [6 empty] | in curs de actualizare
GOODWE | GW10KT-DT | [6 empty] | in curs de actualizare
GOODWE | GW12KT-DT | [6 empty] | in curs de actualizare
GOODWE | GW15KT-DT | [6 empty] | in curs de actualizare
GOODWE | GW10KN-DT | [6 empty] | in curs de actualizare
GOODWE | GW12KN-DT | [6 empty] | in curs de actualizare
GOODWE | GW15KN-DT | [6 empty] | in curs de actualizare
GOODWE | GW25K-MT | [6 empty] | in curs de actualizare
GOODWE | GW30K-MT | [6 empty] | in curs de actualizare
GOODWE | GW36K-MT | [6 empty] | in curs de actualizare
Growatt | 750-S | [6 empty] | in curs de actualizare
Growatt | 1000-S | [6 empty] | in curs de actualizare
Growatt | 1500-S | [6 empty] | in curs de actualizare
Growatt | 2000-S | [6 empty] | in curs de actualizare
Growatt | 2500-S | [6 empty] | in curs de actualizare
Growatt | 3000-S | [6 empty] | in curs de actualizare
Growatt | 2500MTL-S | [6 empty] | in curs de actualizare
Growatt | 3000MTL-S | [6 empty] | in curs de actualizare
Growatt | 3600MTL-S | [6 empty] | in curs de actualizare
Growatt | 4200MTL-S | [6 empty] | in curs de actualizare
Growatt | 5000MTL-S | [6 empty] | in curs de actualizare
Growatt | 5500MTL-S | [6 empty] | in curs de actualizare
Growatt | 3000 TL3-S | x | x | x | x | x | x
Growatt | 4000 TL3-S | x | x | x | x | x | x
Growatt | 5000TL3-S | x | x | x | x | x | x
Growatt | 6000 TL3-S | x | x | x | x | x | x
Growatt | 7000 TL3-S | x | x | x | x | x | x
Growatt | 8000 TL3-S | x | x | x | x | x | x
Growatt | 9000 TL3-S | x | x | x | x | x | x
Growatt | 10000 TL3-S | x | x | x | x | x | x
Growatt | 11000 TL3-S | x | x | x | x | x | x
Growatt | MIN 2500TL-XE | x | x | x | x | x | x
Growatt | MIN 3000TL-XE | x | x | x | x | x | x
Growatt | MIN 3600TL-XE | x | x | x | x | x | x
Growatt | MIN 4200TL-XE | x | x | x | x | x | x
Growatt | MIN 4600TL-XE | x | x | x | x | x | x
Growatt | MIN 5000TL-XE | x | x | x | x | x | x
Growatt | MIN 6000TL-XE | x | x | x | x | x | x
Growatt | MIN 2500TL-XH | x | x | x | x | x | x
Growatt | MIN 3000TL-XH | x | x | x | x | x | x
Growatt | MIN 3600TL-XH | x | x | x | x | x | x
Growatt | MIN 4200TL-XH | x | x | x | x | x | x
Growatt | MIN 4600TL-XH | x | x | x | x | x | x
Growatt | MIN 5000TL-XH | x | x | x | x | x | x
Growatt | MIN 6000TL-XH | x | x | x | x | x | x
Growatt | MAX 50KTL3LV | x | x | x | x | x | x
Growatt | MAX 60KTL3LV | x | x | x | x | x | x
Growatt | MAX 70KTL3LV | x | x | x | x | x | x
Growatt | MAX 75KTL3 LV | x | x | x | x | x | x
Growatt | MAX 80KTL3LV | x | x | x | x | x | x
Growatt | MID 10KTL3-X | x | x | x | x | x | x
Growatt | MID 12KTL3-X | x | x | x | x | x | x
Growatt | MID 15KTL3-X | x | x | x | x | x | x
Growatt | MID 17KTL3-X | x | x | x | x | x | x
Growatt | MID 20KTL3-X | x | x | x | x | x | x
Growatt | MID 22KTL3-X | x | x | x | x | x | x
Growatt | MID 25KTL3-X | x | x | x | x | x | x
Growatt | MID 30KTL3-X | x | x | x | x | x | x
Growatt | MID 33KTL3-X | x | x | x | x | x | x
Growatt | MID 36KTL3-X | x | x | x | x | x | x
Growatt | MID 40KTL3-X | x | x | x | x | x | x
Growatt | MIC 750TL-X | x | x | x | x | x | x
Growatt | MIC 1000TL-X | x | x | x | x | x | x
Growatt | MIC 1500TL-X | x | x | x | x | x | x
Growatt | MIC 2000TL-X | x | x | x | x | x | x
Growatt | MIC 2500TL-X | x | x | x | x | x | x
Growatt | MIC 3000TL-X | x | x | x | x | x | x
Growatt | MIC 3300TL-X | x | x | x | x | x | x
Growatt | MOD 3000 TL3 - X | x | x | x | x | x | x
Growatt | MOD 4000 TL3 - X | x | x | x | x | x | x
Growatt | MOD 5000 TL3 - X | x | x | x | x | x | x
Growatt | MOD 6000 TL3 - X | x | x | x | x | x | x
Growatt | MOD 7000 TL3 - X | x | x | x | x | x | x
Growatt | MOD 8000 TL3 - X | x | x | x | x | x | x
Growatt | MOD 9000 TL3 - X | x | x | x | x | x | x
Growatt | MOD 10 KTL3 - X | x | x | x | x | x | x
Growatt | MOD 11 KTL3 - X | x | x | x | x | x | x
Growatt | MOD 12 KTL3 - X | x | x | x | x | x | x
Growatt | MOD 13 KTL3 - X | x | x | x | x | x | x
Growatt | MOD 15 KTL3 - X | x | x | x | x | x | x
HUAWEI | SUN2000L-2KTL | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-2KTL-L1 | x | x | x | x | x | x
HUAWEI | SUN2000L-3KTL | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-3KTL-L1 | x | x | x | x | x | x
HUAWEI | SUN2000L-3,68KTL | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-3,68KTL-L1 | x | x | x | x | x | x
HUAWEI | SUN2000L-4KTL | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-4KTL-L1 | x | x | x | x | x | x
HUAWEI | SUN2000L-4,6KTL | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-4,6KTL-L1 | x | x | x | x | x | x
HUAWEI | SUN2000L-5KTL | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-5KTL-L1 | x | x | x | x | x | x
HUAWEI | SUN2000-6KTL-L1 | x | x | x | x | x | x
HUAWEI | SUN2000-2KTL-L0 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-3KTL-L0 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-4KTL-L0 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-5KTL-L0 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-3KTL-M0 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-4KTL-M0 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-5KTL-M0 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-6KTL-M0 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-8KTL-M0 | x | x | x | x | x | x
HUAWEI | SUN2000-10KTL-M0 | x | x | x | x | x | x
HUAWEI | SUN2000-3KTL-M1 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-4KTL-M1 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-5KTL-M1 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-6KTL-M1 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-8KTL-M1 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-10KTL-M1 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-12KTL-M0 | x | x | x | x | x | x
HUAWEI | SUN2000-15KTL-M0 | x | x | x | x | x | x
HUAWEI | SUN2000-17KTL-M0 | x | x | x | x | x | x
HUAWEI | SUN2000-20KTL-M0 | x | x | x | x | x | x
HUAWEI | SUN2000-8KTL-M2 | x | x | x | x | x | x
HUAWEI | SUN2000-10KTL-M2 | x | x | x | x | x | x
HUAWEI | SUN2000-12KTL-M2 | x | x | x | x | x | x
HUAWEI | SUN2000-15KTL-M2 | x | x | x | x | x | x
HUAWEI | SUN2000-17KTL-M2 | x | x | x | x | x | x
HUAWEI | SUN2000-20KTL-M2 | x | x | x | x | x | x
HUAWEI | SUN2000-30KTL -M3 | x | x | x | x | x | x
HUAWEI | SUN2000-33KTL-A | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-36KTL | x | x | x | x | x | x
HUAWEI | SUN2000-36KTL -M3 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-40KTL -M3 | [6 empty] | in curs de actualizare
HUAWEI | SUN2000-50KTL-M0 | x | x | x | x | x | x
HUAWEI | SUN2000-60KTL-M0 | x | x | x | x | x | x
HUAWEI | SUN2000-100KTL-M1 | x | x | x | x | x | x
HUAWEI | SUN2000-100KTL-H1 | x | x | x | x | x | x
HUAWEI | SUN2000-105KTL-H1 | x | x | x | x | x | x
HUAWEI | SUN2000-168KTL-H1 | x | x | x | x | x | x
HUAWEI | SUN2000-185KTL-H1 | x | x | x | x | x | x
iMars | MG750TL | [6 empty] | in curs de actualizare
iMars | MG1KTL | [6 empty] | in curs de actualizare
iMars | MG1K5TL | [6 empty] | in curs de actualizare
iMars | MG2KTL | [6 empty] | in curs de actualizare
iMars | MG3KTL | [6 empty] | in curs de actualizare
iMars | MG4KTL | [6 empty] | in curs de actualizare
iMars | MG4K6TL | [6 empty] | in curs de actualizare
iMars | MG5KTL | [6 empty] | in curs de actualizare
iMars | MG3KTL-2M | [6 empty] | in curs de actualizare
iMars | MG4KTL-2M | [6 empty] | in curs de actualizare
iMars | MG4K6TL-2M | [6 empty] | in curs de actualizare
iMars | MG5KTL-2M | [6 empty] | in curs de actualizare
iMars | BG10KTR | [6 empty] | in curs de actualizare
iMars | BG20KTR | [6 empty] | in curs de actualizare
iMars | BG25KTR | [6 empty] | in curs de actualizare
iMars | BG30KTR | [6 empty] | in curs de actualizare
Kaco | Blueplanet 50.0 TL3 | [6 empty] | in curs de actualizare
Kstar | KSG-175UH | x | x | x | x | x | x
Kstar | KSG-200UH | x | x | x | x | x | x
Kstar | KSG-225UH | x | x | x | x | x | x
Kstar | KSG-250UH | x | x | x | x | x | x
Kstar | KSG-100CL | x | x | x | x | x | x
Kstar | KSG-110CL | x | x | x | x | x | x
Kstar | KSG-120CL | x | x | x | x | x | x
Kstar | KSG-136UM | x | x | x | x | x | x
Kstar | KSG-150UM | x | x | x | x | x | x
Kstar | BluE-G 3000S | [6 empty] | in curs de actualizare
Kstar | BluE-G 3000D | [6 empty] | in curs de actualizare
Kstar | BluE-G 3600D | [6 empty] | in curs de actualizare
Kstar | BluE-G 4000D | [6 empty] | in curs de actualizare
Kstar | BluE-G 4200D | [6 empty] | in curs de actualizare
Kstar | BluE-G 4600D | [6 empty] | in curs de actualizare
Kstar | BluE-G 5000D | [6 empty] | in curs de actualizare
Kstar | BluE-G 6000D | [6 empty] | in curs de actualizare
Kstar | BluE-G 3000S-M1 | [6 empty] | in curs de actualizare
Kstar | BluE-G 3000D-M0 | [6 empty] | in curs de actualizare
Kstar | BluE-G 3000D-M1 | [6 empty] | in curs de actualizare
Kstar | BluE-G 4000D-M0 | [6 empty] | in curs de actualizare
Kstar | BluE-G 4000D-M1 | [6 empty] | in curs de actualizare
Kstar | BluE-G 5000D-M1 | [6 empty] | in curs de actualizare
Kstar | BluE-G 6000D-M1 | [6 empty] | in curs de actualizare
Kstar | BluE-G 3000S-AU | [6 empty] | in curs de actualizare
Kstar | BluE-G 3000D-AU | [6 empty] | in curs de actualizare
Kstar | BluE-G 3600D-AU | [6 empty] | in curs de actualizare
Kstar | BluE-G 4000D-AU | [6 empty] | in curs de actualizare
Kstar | BluE-G 4200D-AU | [6 empty] | in curs de actualizare
Kstar | BluE-G 4600D-AU | [6 empty] | in curs de actualizare
Kstar | BluE-G 5000D-AU | [6 empty] | in curs de actualizare
RIELLO SOLARTECH | RS 1.5 | [6 empty] | in curs de actualizare
RIELLO SOLARTECH | RS 2.0 | [6 empty] | in curs de actualizare
RIELLO SOLARTECH | RS 3.0 | [6 empty] | in curs de actualizare
RIELLO SOLARTECH | RS 5.0 | [6 empty] | in curs de actualizare
RIELLO SOLARTECH | RS 6.0 | [6 empty] | in curs de actualizare
SMA | Sunny Boy 3.0-1AV-41 | x | x | x | x | x | x
SMA | Sunny Boy 3.6-1AV-41 | x | x | x | x | x | x
SMA | Sunny Boy 4.0-1AV-41 | x | x | x | x | x | x
SMA | Sunny Boy 5.0-1AV-41 | x | x | x | x | x | x
SMA | Sunny Boy 6.0-1AV-41 | x | x | x | x | x | x
SMA | STP 5000TL-20 | x | x | x | x | x | x
SMA | Sunny Boy 8000 - TL | x | x | x | x | x | x
SMA | Sunny Tripower 10.0-3AV-40 | x | x | x | x | x | x
SMA | SUNNY TRIPOWER 15000TL | [6 empty] | in curs de actualizare
SMA | SUNNY TRIPOWER 20000TL | [6 empty] | in curs de actualizare
SMA | SUNNY TRIPOWER 25000TL | [6 empty] | in curs de actualizare
SOFAR | 1100TL-G3 | x | x | x | x | x | x
SOFAR | 1600TL-G3 | x | x | x | x | x | x
SOFAR | 2200TL-G3 | x | x | x | x | x | x
SOFAR | 2700TL-G3 | x | x | x | x | x | x
SOFAR | 3.6KTLM-G2 | x | x | x | x | x | x
SOFAR | 3000TL-G3 | x | x | x | x | x | x
SOFAR | 3300TL-G3 | x | x | x | x | x | x
SOFAR | 3KTLM-G2 | x | x | x | x | x | x
SOFAR | 4.6KTLM-G2 | x | x | x | x | x | x
SOFAR | 4KTLM-G2 | x | x | x | x | x | x
SOFAR | 5KTLM-G2 | x | x | x | x | x | x
SOFAR | 6KTLM-G2 | x | x | x | x | x | x
Solar Edge | SE2200H | [6 empty] | in curs de actualizare
Solar Edge | SE3000H | [6 empty] | in curs de actualizare
Solar Edge | SE3500H | [6 empty] | in curs de actualizare
Solar Edge | SE3680H | [6 empty] | in curs de actualizare
Solar Edge | SE4000H | [6 empty] | in curs de actualizare
Solar Edge | SE5000H | [6 empty] | in curs de actualizare
Solar Edge | SE6000H | [6 empty] | in curs de actualizare
Solar Edge | SE3K | [6 empty] | in curs de actualizare
Solar Edge | SE4K | [6 empty] | in curs de actualizare
Solar Edge | SE5K | [6 empty] | in curs de actualizare
Solar Edge | SE6K | [6 empty] | in curs de actualizare
Solar Edge | SE7K | [6 empty] | in curs de actualizare
Solar Edge | SE8K | [6 empty] | in curs de actualizare
Solar Edge | SE9K | [6 empty] | in curs de actualizare
Solar Edge | SE10K | [6 empty] | in curs de actualizare
Solar Edge | SE12.5K | [6 empty] | in curs de actualizare
Solar Edge | SE15K | [6 empty] | in curs de actualizare
Solar Edge | SE16K | [6 empty] | in curs de actualizare
Solar Edge | SE17K | [6 empty] | in curs de actualizare
Solar Edge | SE25K | [6 empty] | in curs de actualizare
Solar Edge | SE27.6K | [6 empty] | in curs de actualizare
Solar Edge | SE55K | [6 empty] | in curs de actualizare
Solar Edge | SE82.8K | [6 empty] | in curs de actualizare
SolaX Power | X1-5.0-T-D(L) | [6 empty] | in curs de actualizare
SolaX Power | X1-5.0-T-D(O) | [6 empty] | in curs de actualizare
SolaX Power | X1-5.0-T-N(L) | [6 empty] | in curs de actualizare
SolaX Power | X1-5.0-T-N(O) | [6 empty] | in curs de actualizare
Suntrio Plus | 4K | [6 empty] | in curs de actualizare
Suntrio Plus | 5K | [6 empty] | in curs de actualizare
Suntrio Plus | 6K | [6 empty] | in curs de actualizare
Suntrio Plus | 8K | [6 empty] | in curs de actualizare
Suntrio Plus | 10K | [6 empty] | in curs de actualizare
Sununo Plus | 1K | [6 empty] | in curs de actualizare
Sununo Plus | 2K | [6 empty] | in curs de actualizare
Sununo Plus | 3K | [6 empty] | in curs de actualizare
Sununo Plus | 3K-M | [6 empty] | in curs de actualizare
Sununo Plus | 4K-M | [6 empty] | in curs de actualizare
Sununo Plus | 5K-M | [6 empty] | in curs de actualizare
Sungrow | SG30CX | [6 empty] | in curs de actualizare
Sungrow | SG33CX | x | x | x | x | x | x
Sungrow | SG40CX | x | x | x | x | x | x
Sungrow | SG50CX | x | x | x | x | x | x
Sungrow | SG110CX | x | x | x | x | x | x
Sungrow | SG125HX | x | x | x | x | x | x
Sungrow | SG250HX | x | x | x | x | x | x
Think Power | T1500TL | [6 empty] | in curs de actualizare
Think Power | T2200TL | [6 empty] | in curs de actualizare
Think Power | T3000TL | [6 empty] | in curs de actualizare
Think Power | S3600TL | [6 empty] | in curs de actualizare
Think Power | S4400TL | [6 empty] | in curs de actualizare
Think Power | S5000TL | [6 empty] | in curs de actualizare